### Industrial SWPPP Template

Introduction

To help you develop a SWPPP that is consistent with the NPDES General Permit for Storm Water Discharges associated with Industrial Activities except construction (or, the General Permit).  The South Carolina Department of Health and Environmental Control (DHEC) has created this Industrial SWPPP template (or, “the Template”).  Use of the Template will help ensure that your SWPPP addresses all the necessary elements required in Part 2 and 5 of the General Permit.

Before completing the Template, make sure you read and understand the requirements in the General Permit. A copy of the General Permit is available at the following web page:

http://www.scdhec.gov/environment/WaterQuality/Stormwater/ConstructionActivities/IndustrialActivities/

Using the Industrial SWPPP Template

Tips for completing the Template:

- This Template is designed for use by all facilities eligible for coverage under the General Permit.  The Template is NOT tailored to your individual industrial sector.  Depending on which industrial sector you fall under (see Appendix D of the General Permit), you will need to address additional SWPPP requirements outlined in Section 8. Sector Specific Requirements of the permit.

- Complete a SWPPP before submitting your Notice of Intent (NOI) for permit coverage.

- Each section includes “instructions” and space for your facility’s specific information. You should read the instructions for each section before you complete that section.

- The Template was developed in Microsoft Word so that you can easily add tables and additional text. Some sections may require only a brief description while others may require several pages of explanation.

- To make it easier to complete, the Template generally uses blue text where the operator is expected to enter information.

It is noted that while DHEC has made every effort to ensure the accuracy of all instructions and guidance contained in the Template, the actual obligations of regulated industrial facilities are determined by the relevant provisions of the permit, not by the Template.  In the event of a conflict between the Template and any corresponding provision of the General Permit, the permit is the final authority.  DHEC welcomes comments on the Template at any time and will consider those comments in any future revision of this document.

Stormwater Pollution Prevention Plan

for:

Insert Facility Name

Insert Facility Address

Insert City, State, Zip Code

Insert Facility Telephone Number (if applicable)

SWPPP Contact(s):

Insert Name

Insert Address

Insert City, State, Zip Code

Insert Telephone Number

Insert Fax/Email

SWPPP Preparation Date:

__ __/ __ __ / __ __ __ __

Contents

SECTION 1: FACILITY DESCRIPTION AND CONTACT INFORMATION	1

1.1	Facility Information	1

1.2	Contact Information/Responsible Parties	2

1.3	Stormwater Pollution Prevention Team	3

1.4	Activities at the Facility	3

1.5	General Location Map	4

1.6	Site Map	5

SECTION 2: POTENTIAL POLLUTANT SOURCES	6

2.1	Industrial Activity and Associated Pollutants	6

2.2	Spills and Leaks	7

2.3	Non-Stormwater Discharges Documentation	7

2.4	Salt Storage	8

2.5	Sampling Data Summary	8

SECTION 3: STORMWATER Control Measures	9

3.1	Minimize Exposure	9

3.2	Good Housekeeping	9

3.3	Maintenance	9

3.4	Spill Prevention and Response	10

3.5	Erosion and Sediment Controls	10

3.6	Management of Runoff	10

3.7	Salt Storage Piles or Piles Containing Salt	11

3.8	Sector-Specific Non-Numeric Effluent Limits	11

3.9	Employee Training	11

3.10	Waste, Garbage and Floatable Debris	11

3.11	Dust Generation and Vehicle Tracking of Industrial Materials	12

SECTION 4: Schedules and Procedures FOR MONITORING	13

SECTION 5: Inspections	15

SECTION 6: SWPPP CERTIFICATION	16

SECTION 7: SWPPP MODIFICATIONS	17

SWPPP ATTACHMENTS

Attachment A – General Location Map

Attachment B – Site Maps

Attachment C – General Permit

# SECTION 1: FACILITY DESCRIPTION AND CONTACT INFORMATION

## Facility Information

Instructions:

- You will need the information from this section to complete your Notice of Intent (NOI).

- You must include a copy of the General Permit or a reference or link to where a copy can be found.

| Facility Information |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Name of Facility: |  |  |  |  |  |
| Street: |  |  |  |  |  |
| City: |  | State: |  | ZIP Code: |  |
| County: |  |  |  |  |  |
| Permit Certificate Number: |  |  |  |  |  |
| Latitude/Longitude (Use one of three possible formats, and specify method) |  |  |  |  |  |
| Latitude: | Longitude: |  |  |  |  |
| 1. _ _ º _ _ ' _ _'' N (degrees, minutes, seconds) | 1. _ _ º _ _ ' _ _'' W (degrees, minutes, seconds) |  |  |  |  |
| 2. _ _ º _ _ . _ _' N (degrees, minutes, decimal) | 2. _ _ º _ _ . _ _' W (degrees, minutes, decimal) |  |  |  |  |
| 3. _ _ . _ _ _ _ º N (decimal) | 3. _ _ . _ _ _ _ º W (decimal) |  |  |  |  |
| Method for determining latitude/longitude (check one): |  |  |  |  |  |
| USGS topographic map (specify scale: ) |  |  | GPS |  |  |
| Other (please specify): |  |  |  |  |  |
| Is the facility located in Indian Country? Yes No |  |  |  |  |  |
| If “Yes,” name of Reservation, or if not part of a Reservation, indicate "not applicable." |  |  |  |  |  |
| Is this facility considered a Federal Facility? Yes No |  |  |  |  |  |
| Estimated area of industrial activity at site exposed to stormwater: (acres) |  |  |  |  |  |
| Discharge Information |  |  |  |  |  |
| Does this facility discharge stormwater into an MS4? Yes No If yes, name of MS4 operator: |  |  |  |  |  |
| Name(s) of water(s) that receive stormwater from your facility |  |  |  |  |  |
| Are any of your discharges directly into an “impaired” water? Yes No |  |  |  |  |  |
| If “Yes,” identify name of the impaired water: Identify the pollutant(s) causing the impairment: For pollutants identified, which do you have reason to believe will be present in your discharge? For pollutants identified, which have a completed TMDL? |  |  |  |  |  |
| Do you discharge into a receiving water designated as an ORW (Outstanding Resource Water)? Yes No If “Yes,” see 2.2.3.a. of the General Permit. |  |  |  |  |  |
| Are any of your stormwater discharges subject to effluent guidelines? Yes No If “Yes,” which guidelines apply? |  |  |  |  |  |
| Primary (secondary, tertiary, etc., if applicable) SIC Code or 2-letter Activity Code: (refer to Appendix D of the General Permit) |  |  |  |  |  |
| Identify your applicable Sector(s) and Subsector(s): |  |  |  |  |  |

## 1.2	Contact Information/Responsible Parties

Instructions:

- List the facility operator(s), facility owner, and 24-hour emergency contact.  Indicate respective responsibilities, where appropriate.

- You will need the information from this section of the SWPPP template for your NOI.

Facility Operator(s) (if applicable):

Name: Insert Name

Address: Insert Address

City, State, Zip Code: Insert City, State, Zip Code

Telephone Number: Insert Telephone Number

Email address: Insert email address

Fax number: Insert fax number (optional)

Facility Owner(s):

Name: Insert Name

Address: Insert Address

City, State, Zip Code: Insert City, State, Zip Code

Telephone Number: Insert Telephone Number

Email address: Insert email address

Fax number: Insert fax number (optional)

SWPPP Contact:

Name: Insert SWPPP Contact Name

Telephone number: Insert Telephone Number

Email address: Insert email address

Fax number: Insert fax number (optional)

## 1.3	Stormwater Pollution Prevention Team

Instructions (see General Permit Part 5.1.1):

- Identify the staff members (by name or title) that comprise the facility’s stormwater pollution prevention team as well as their individual responsibilities.

- Your stormwater pollution prevention team is responsible for assisting the facility manager in developing and revising the facility’s SWPPP, implementing and maintaining control measures/BMPs, and taking corrective actions where required. Each member of the stormwater pollution prevention team must have ready access to either an electronic or paper copy of applicable portions of the General Permit and your SWPPP.

| Staff Names | Individual Responsibilities |
| --- | --- |
| Insert name of SWPPP team member | Insert explanation of that staff person’s responsibilities relating to compliance with the permit |
| [Repeat as necessary] | [Repeat as necessary] |
| [Repeat as necessary] | [Repeat as necessary] |
| [Repeat as necessary] | [Repeat as necessary] |
| [Repeat as necessary] | [Repeat as necessary] |
| [Repeat as necessary] | [Repeat as necessary] |

## 1.4	Activities at the Facility

Instructions (see General Permit Part 5.1.2):

- Provide a general description of the nature of the industrial activities at your facility.

- Insert text here

## General Location Map

Instructions (see General Permit Part 5.1.2):

- Provide a general location map (e.g., U.S. Geological Survey (USGS) quadrangle map) with enough detail to identify the location of your facility and all receiving waters for your stormwater discharges.

Include a copy of the general location map for this facility.

## Site Map

Instructions (see General Permit Part 5.1.2):

- Include a map showing the following information.

- the size of the property in acres;

- the location and extent of significant structures and impervious surfaces;

- directions of stormwater flow (use arrows);

- locations of all existing structural control measures;

- locations of all receiving waters in the immediate vicinity of your facility, indicating if any of the waters are impaired and, if so, whether the waters have TMDLs established for them;

- locations of all stormwater conveyances including ditches, pipes, and swales;

- locations of potential pollutant sources (General Permit, Part 5.1.3.2);

- locations where significant spills or leaks have occurred (General Permit, Part 5.1.3.3);

- locations of all stormwater monitoring points;

- locations of stormwater inlets and outfalls, with a unique identification code for each outfall (e.g., Outfall No. 1, No. 2, etc), indicating if you are treating one or more outfalls as “substantially identical” under the General Permit, Parts 4.2.3, 5.1.5.2, and 6.1.1, and an approximate outline of the areas draining to each outfall;

- municipal separate storm sewer systems, where your stormwater discharges to them;

- locations and descriptions of all non-stormwater discharges identified under the General Permit, Part 2.1.2.10;

- locations of the following activities where such activities are exposed to precipitation:

  - fueling stations;

  - vehicle and equipment maintenance and/or cleaning areas;

  - loading/unloading areas;

  - locations used for the treatment, storage, or disposal of wastes;

  - liquid storage tanks;

  - processing and storage areas;

  - immediate access roads and rail lines used or traveled by carriers of raw materials, manufactured products, waste material, or by-products used or created by the facility;

  - transfer areas for substances in bulk;

  - machinery; and

- locations and sources of run-on to your site from adjacent property that contains significant quantities of pollutants.

Additional maps/sources may be used to capture this information.

Include a copy of the site map for this facility.

# SECTION 2: POTENTIAL POLLUTANT SOURCES

Instructions (see the General Permit Part 5.1.3):

- In this section, you are required to describe areas at your facility where industrial materials or activities are exposed to stormwater or from which allowable non-stormwater discharges are released.

## Industrial Activity and Associated Pollutants

Instructions (see the General Permit Parts 5.1.3.1 and 5.1.3.2):

- Include a list of industrial activities exposed to stormwater (e.g., material storage; equipment/vehicle fueling, maintenance, and cleaning; cutting steel beams) and the pollutants or pollutant constituents (e.g., motor oil, fuel, battery acid, and cleaning solvents) associated with these activities.

- In your list of pollutants associated with your industrial activities, include all significant materials that have been handled, treated, stored, or disposed, and that have been exposed to stormwater in the 3 years prior to the date you prepare your SWPPP.

| Industrial Activity | Associated Pollutants |
| --- | --- |
| Insert specific industrial activity | Insert names of pollutants or pollutant constituents that could be associated with this activity and released in stormwater |
| [Repeat as necessary] | [Repeat as necessary] |
| [Repeat as necessary] | [Repeat as necessary] |
| [Repeat as necessary] | [Repeat as necessary] |
| [Repeat as necessary] | [Repeat as necessary] |
| [Repeat as necessary] | [Repeat as necessary] |
| [Repeat as necessary] | [Repeat as necessary] |

## 2.2	Spills and Leaks

Instructions (See the General Permit Part 5.1.3.3):

- Include the following in this section:

  - Potential spills and leaks:  A description of where potential spills and leaks could occur at your site that could contribute pollutants to your stormwater discharge, and specify which outfall(s) are likely to be affected by such spills and leaks.

  - Past spills and leaks:  A description of significant spills and leaks in the past 3 years of oil or toxic or hazardous pollutants that actually occurred at exposed areas, or that drained to a stormwater conveyance.

- Note: Significant spills and leaks include, but are not limited to, releases of oil or hazardous substances in excess of quantities that are reportable under CWA Section 311 (see 40 CFR 110.6 and 40 CFR 117.21) or Section 102 of the Comprehensive Environmental Response, Compensation and Liability Act (CERCLA), 42 USC §9602.

Areas of Site Where Potential Spills/Leaks Could Occur

| Location | Outfalls |
| --- | --- |
| Insert description of area where spill/leak could occur | Specify which outfall(s) would be affected |
| [Repeat as necessary] | [Repeat as necessary] |
| [Repeat as necessary] | [Repeat as necessary] |
| [Repeat as necessary] | [Repeat as necessary] |

Description of Past Spills/Leaks

| Date | Description | Outfalls |
| --- | --- | --- |
| Insert date of spill/leak | Insert description of spill/leak (where it occurred, what happened, types of pollutants, extent of damage) | Specify which outfall(s) were affected |
| [Repeat as necessary] | [Repeat as necessary] | [Repeat as necessary] |
| [Repeat as necessary] | [Repeat as necessary] | [Repeat as necessary] |
| [Repeat as necessary] | [Repeat as necessary] | [Repeat as necessary] |

## 2.3	Non-Stormwater Discharges Documentation

Instructions (see the General Permit Part 5.1.3.4):

- The questions below require you to provide documentation of the following:

  - Your annual evaluations for the presence of non-stormwater discharges at your site; and

  - Your elimination of any unauthorized non-stormwater discharges.

- Date of evaluation(s):  Insert the date(s) of your evaluation.  (see General Permit Part 4.3.1.e.vii.)

- Description of the evaluation criteria used: Describe the method you used to conduct your evaluation and to determine for each non-stormwater sources whether it is prohibited or allowed under the permit.

- List of the outfalls or onsite drainage points that were directly observed during the evaluation: Insert outfalls/drainage points observed.

- Different types of non-stormwater discharge(s) and source locations: Describe types of non-stormwater discharges observed and the corresponding outfall or drainage point.

- Action(s) taken, such as a list of control measures used to eliminate unauthorized discharge(s), if any were identified. For example, a floor drain was sealed, a sink drain was re-routed to sanitary, or an NPDES permit application was submitted for an unauthorized cooling water discharge:  Describe actions taken to eliminate unauthorized non-stormwater discharges and the corresponding outfall/drainage point affected.

## 2.4	Salt Storage

Instructions (see the General Permit Part 5.1.3.5):

- Document the location of any storage piles containing salt used for deicing or other commercial or industrial purposes.

- Note:  You will be asked additional questions concerning salt storage in Section 3.7 of this SWPPP template, below.

Insert description of the location of any storage piles containing salt.

## Sampling Data Summary

Instructions (See the General Permit Part 5.1.3.6):

- Summarize all stormwater sampling data collected from your permitted outfalls during the previous permit term.

Insert summary of stormwater sampling data collected for the past permit, and/or attach discharge monitoring reports or laboratory results.

# SECTION 3: STORMWATER Control Measures

Instructions (See the General Permit Parts 5.1.4 and 2.1.2):

- In Sections 3.1 - 3.12 of this SWPPP template, you are asked to describe the stormwater control measures that you have installed at your site to meet each of the permit’s “non-numeric effluent limits” in Part 2.1.2 of the General Permit.

## 3.1	Minimize Exposure

Instructions (see the General Permit Part 2.1.2.1):

- Describe any structural controls or practices used to minimize the exposure of industrial activities to rain, snow, snowmelt, and runoff.  Describe where the controls or practices are being implemented at your site.

INSERT DESCRIPTION OF CONTROL MEASURES HERE.

## Good Housekeeping

Instructions (see the General Permit Parts 2.1.2.2 and 5.1.5.1):

Describe any practices you are implementing to keep exposed areas of your site clean.  Describe where each practice is being implemented at your site. Include here your schedule for: (1) regular pickup and disposal of waste materials, and (2) routine inspections for leaks and of the condition of drums, tanks, and containers.

INSERT DESCRIPTION OF CONTROL MEASURES HERE.

## 3.3	Maintenance

Instructions (see the General Permit Parts 2.1.2.3 and 5.1.5.1):

- Describe procedures (1) to maintain industrial equipment so that spills/leaks are avoided, and (2) to maintain any of your site’s control measures in effective operating condition.  Include the schedule you will follow for such maintenance activities.  Describe where each applicable procedure is being implemented at the site.

INSERT DESCRIPTION OF CONTROL MEASURES HERE.

## 3.4	Spill Prevention and Response

Instructions (see the General Permit Parts 2.1.2.4 and 5.1.5.1):

- Describe any structural controls or procedures used to minimize the potential for leaks, spills, and other releases.  You must implement the following at a minimum:

- Procedures for plainly labeling containers (e.g., “Used Oil,” “Spent Solvents,” “Fertilizers and Pesticides,” etc.) that could be susceptible to spillage or leakage to encourage proper handling and facilitate rapid response if spills or leaks occur;

- Preventative measures such as barriers between material storage and traffic areas, secondary containment provisions, and procedures for material storage and handling;

- Procedures for expeditiously stopping, containing, and cleaning up leaks, spills, and other releases; and

- Procedures for notification of appropriate facility personnel, emergency response agencies, and regulatory agencies.

Describe where each control is to be located or where applicable procedures will be implemented.

INSERT DESCRIPTION OF CONTROL MEASURES HERE.

## Erosion and Sediment Controls

Instructions (see the General Permit Part 2.1.2.5):

Describe structural or non-structural controls used at your site to stabilize exposed areas and contain runoff to minimize onsite erosion and potential offsite discharges of sediment.  Note:  You must at a minimum implement flow velocity dissipation devices at outfalls and discharge channels.  Describe the location at your site where each control will be implemented.

INSERT DESCRIPTION OF CONTROL MEASURES HERE.

## 3.6	Management of Runoff

Instructions (See the General Permit Part 2.1.2.6):

Describe controls used at your site to divert, infiltrate, reuse, contain, or otherwise reduce stormwater runoff. Describe the location at your site where each control will be implemented.

INSERT DESCRIPTION OF CONTROL MEASURES HERE.

## 3.7	Salt Storage Piles or Piles Containing Salt

Instructions (see the General Permit Part 2.1.2.7):

If applicable, describe structures at your site that either cover or enclose salt storage piles or piles containing salt, or that prevent the discharge of stormwater from such piles.  Also, describe any controls or procedures used to   minimize exposure resulting from adding to or removing materials from the pile.  Describe the location at your site where each control and/or procedure will be implemented.

INSERT DESCRIPTION OF CONTROL MEASURES HERE.

## 3.8	The General Permit Sector-Specific Non-Numeric Effluent Limits

Instructions (see the General Permit Part 2.1.2.8):

- Describe any controls or procedures that will be used at your site to comply with any sector-specific requirements that apply to you in Part 8 of the General Permit.  Describe the location at your site where each control and/or procedure will be implemented.

- Note:  Sector-specific effluent limits apply to Sectors A, E, F, G, L, M, N, O, P, Q, R, S, T, U, V, X, Y, Z, and AA.

INSERT DESCRIPTION OF CONTROL MEASURES HERE.

## Employee Training

Instructions (see the General Permit Parts 2.1.2.9 and 5.1.5.1):

Describe your plan for training the employees who work in areas where industrial materials or activities are exposed to stormwater, or who are responsible for implementing activities necessary to meet the conditions of the General Permit, including all members of your Pollution Prevention Team.  Included in your description must be the frequency of training and the schedule you will follow.

INSERT DESCRIPTION OF PLAN FOR TRAINING APPLICABLE STAFF HERE.

## 3.10	Waste, Garbage and Floatable Debris

Instructions (see the General Permit Part 2.1.2.11):

Describe controls and procedures that will be used at your site to minimize discharges of waste, garbage, and floatable debris.  Describe the location at your site where each control and/or procedure will be implemented.

INSERT DESCRIPTION OF CONTROL MEASURES HERE.

## 3.11	Dust Generation and Vehicle Tracking of Industrial Materials

Instructions (see the General Permit Part 2.1.2.12):

Describe controls and procedures you will use at your site to minimize the generation of dust and off-site tracking of raw, final, or waste materials.  Describe the location at your site where each control and/or procedures will be implemented.

INSERT DESCRIPTION OF CONTROL MEASURES HERE.

# SECTION 4: Schedules and Procedures FOR MONITORING

Instructions (see the General Permit Part 5.1.5.2):

- Describe your procedures for conducting the four types of analytical monitoring specified by the General Permit, where applicable to your facility, including:

  - Benchmark monitoring (General Permit, Part 6.2.1);

  - Effluent limitations guidelines monitoring (General Permit, Part 6.2.2);

  - Impaired waters monitoring (General Permit, Part 6.2.4); and

  - Other monitoring as required by DHEC (General Permit, Part 6.2.5).

- Depending on the type of facility you operate, and the monitoring requirements to which you are subject, you must collect and analyze stormwater samples and document monitoring activities consistent with the procedures described in the General Permit, Part 6 and Appendix B, S.C. R.122.41(j) - (l), and any additional sector-specific or State/Tribal-specific requirements in Parts 8, respectively.   Refer to the General Permit, Part 7 for reporting and recordkeeping requirements.

        - If you are invoking the exception for inactive and unstaffed sites for benchmark monitoring, you must include in your SWPPP the information to support this claim as required by the General Permit, Parts 6.2.1.3 and 6.2.4.3.

        - If you plan to use the substantially identical outfall exception for your benchmark monitoring requirements in Part 6.2.2.2 of the permit, your quarterly visual assessment requirements in Part 4.2.1, and/or your impaired waters monitoring requirements in Part 6.2.4.2, you must include the following documentation:

          - Location of each of the substantially identical outfalls;

          - Description of the general industrial activities conducted in the drainage area of each outfall;

          - Description of the control measures implemented in the drainage area of each outfall;

          - Description of the exposed materials located in the drainage area of each outfall that are likely to be significant contributors of pollutants to stormwater discharges;

          - An estimate of the runoff coefficient of the drainage areas (low = under 40%; medium = 40 to 65%; high = above 65%); and

          - Why the outfalls are expected to discharge substantially identical effluents.

For each type of monitoring, your SWPPP must include a description of:

- Sample Location(s).  Describe where samples will be collected, including any determination that two or more outfalls are substantially identical. INSERT TEXT HERE

- Pollutant Parameters to be Sampled.  Include a list of the pollutant parameters that will be sampled and the frequency of sampling for each parameter. INSERT TEXT HERE

- Monitoring Schedules.  Include the schedule you will follow for monitoring your stormwater discharge, including where applicable any alternate monitoring periods to be used for facilities in climates with irregular stormwater runoff (General Permit, Parts 6.1.5. and 6). INSERT TEXT HERE

- Numeric Limitations.  List here any pollutant parameters subject to numeric limits (effluent limitations guidelines), and which outfalls are subject to such limits.  Note that numeric limits are only included for Sectors A, C, D, E, K, L, O, and S. INSERT TEXT HERE

- Procedures.  Describe procedures you will follow for collecting samples, including responsible staff who will be involved, logistics for taking and handling samples, laboratory to be used, etc. INSERT TEXT HERE

Note:  It may be helpful to create a table with columns corresponding to # 1 - 5 above for each type of monitoring you are required to conduct.

Inactive and Unstaffed sites exception (if applicable)

If you are invoking the exception for inactive and unstaffed sites for benchmark monitoring, include information to support this claim.

INSERT TEXT HERE

Substantially identical outfall exception (if applicable)

If you plan to use the substantially identical outfall exception for your benchmark monitoring and/or quarterly visual assessment requirements, include the following information here to substantiate your claim that these outfalls are substantially identical:

- Location of each of the substantially identical outfalls: INSERT TEXT HERE

- Description of the general industrial activities conducted in the drainage area of each outfall: INSERT TEXT HERE

- Description of the control measures implemented in the drainage area of each outfall: INSERT TEXT HERE

- Description of the exposed materials located in the drainage area of each outfall that are likely to be significant contributors of pollutants to stormwater discharges: INSERT TEXT HERE

- An estimate of the runoff coefficient of the drainage areas (low=under 40%; medium=40 to 65%; high =above 65%): INSERT TEXT HERE

- Why the outfalls are expected to discharge substantially identical effluents: INSERT TEXT HERE

# SECTION 5: Inspections

Instructions:

- Describe your procedures for performing the three types of inspections required by the General Permit, including:

  - Routine facility inspections (General Permit, Part 4.1);

  - Quarterly visual assessment of stormwater discharges (General Permit, Part 4.2); and

  - Comprehensive site inspections (General Permit, Part 4.3).

        - If you are invoking the exception for inactive and unstaffed sites relating to routine facility inspections and quarterly visual assessments, you must include in your SWPPP the information to support this claim as required by the General Permit, Parts 4.1.3 and 4.2.3.

For the routine facility inspections and the comprehensive site inspections to be performed at your site, include a description of the following:

      - The names of the person(s), or the positions of the person(s), responsible for inspection: INSERT TEXT HERE

      - The schedules to be used for conducting inspections.  Include here any tentative schedule that will be used for facilities in climates with irregular stormwater runoff discharges (see General Permit, Part 4.1.3): INSERT TEXT HERE and

      - Specific areas of the facility to be inspected, including schedules for specific outfalls: INSERT TEXT HERE

NOTE: At least one of the routine facility inspections must be performed during a stormwater discharge from your

site. (see General Permit, Part 4.1.1)

For the quarterly visual assessments to be performed at your site, include a description of the following:

      - The names of the person(s), or the positions of the person(s), responsible for inspection: INSERT TEXT HERE

      - The schedules to be used for conducting inspections.  Include here any tentative schedule that will be used for facilities in climates with irregular stormwater runoff discharges (see General Permit, Part 4.2.3): INSERT TEXT HERE and

      - Specific areas of the facility to be inspected, including schedules for specific outfalls: INSERT TEXT HERE

Inactive and Unstaffed sites exception (if applicable)

If you are invoking the exception for inactive and unstaffed sites for your routine facility inspections and quarterly visual assessments, include information to support this claim.

INSERT TEXT HERE

# SECTION 6: SWPPP CERTIFICATION

Instructions (see the General Permit Part 5.1.6):

- The following certification statement must be signed and dated by a person who meets the requirements of Appendix B [SC Reg. 61-9.122.41(k)] of the General Permit.  Note: This certification must be re-signed in the event of a SWPPP modification in response to a Part 3.1 trigger for corrective action.  The certification must also be re-signed if the individual who signed the statement below is no longer associated with your site.

I certify under penalty of law that this document and all attachments were prepared under my direction or supervision in accordance with a system designed to assure that qualified personnel properly gathered and evaluated the information submitted.  Based on my inquiry of the person or persons who manage the system, or those persons directly responsible for gathering the information, the information submitted is, to the best of my knowledge and belief, true, accurate, and complete.  I am aware that there are significant penalties for submitting false information, including the possibility of fine and imprisonment for knowing violations.

| Name: |  |  | Title: |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Signature: |  |  |  |  | Date: |  |

# SECTION 7: SWPPP MODIFICATIONS

Instructions (see General Permit Part 5.2):

- Your SWPPP is a “living” document and is required to be modified and updated, as necessary, in response to corrective actions.  See Part 3.4 of the General Permit.

  - If you need to modify the SWPPP in response to a corrective action required by Part 3.1 of the General Permit, then the certification statement in section 7 of this SWPPP template must be re-signed in accordance with the General Permit Appendix B, SC Reg.122.41(k)

  - For any other SWPPP modification, you should keep a log with a description of the modification, the name of the person making it, and the date and signature of that person.

INSERT LOG HERE or REFERENCE ATTACHMENT